## Comparison (hidden)
|  |  | Included in Mass Audubon Tool? | Notes | CLL notes 1/27/22
SECTION 2: Street Standards in Subdivision Regulations
Street Design and Parking Lot Guidelines (NPDES Draft permit 2.4.5) Perform assessment of current street design and parking lot guidelines and other local requirements that affect the creation of impervious cover. This assessment shall be used to provide information to determine if changes to design standards for streets and parking lots can be modified to support low impact design options. (Document cited by EPA: http://www.mapc.org/resources/lowimpact-dev-toolkit/roadway-lot-design )
Please report the town's street requirements on the Street Standards Sheet
Roadway Width and Length
| Is paved roadway width standard set for LID purposes in low density residential developments with less than 500 daily trips? (LID standard: 18-22 feet) |  |  |  | Yes included
| At higher densities are parking lanes allowed to also serve as traffic lanes (i.e., queuing streets)? |  | No |  | eh
| Do street standards promote the most efficient street layouts so as to reduce the overall street length? | Identify how you would do this (frontage requirements, etc.) | Yes
Right of Ways
| Is the minimum right of way width less than 45 feet for a residential street? |  | Yes
| Does the code allow utilities to be placed under the paved section of the ROW? |  | Yes
| Does the code allow utilities to be placed immediately adjacent to the paved section of the ROW? |  | Yes
| Do the regulations limit clearing within the right-of-way to the minimum necessary? |  | Yes
| Do regulations require clearing and grubbing of entire right of way? |  | Yes
| Are street trees required for new streets? |  | No |  | Added
| If yes, is this shown in the street cross section that may be provided? |  | No |  | no
| Do street standards permit LID stormwater management approaches (i.e. allow swales or other such BMP instead of curb and gutter) or are curbs and gutters REQUIRED improvements? |  | Yes
| Where curbs are necessary/required, are perforated curbs that allow runoff into swales or other stormwater BMPs allowed? |  | Kind of | Curbing: Open drainage with roadside swales and no curbs preferred Sidewalks: Prefer permeable pavement or permeable pavers | Yes included - Allow curb breaks or curb flush with pavement to enable water to flow to vegetated LID features
| Does the town have criteria for design of roadside swales? |  | No |  | Yes included - see "Roadside swales"
| Where curb and gutter systems are installed, are inlets / drains required to have a notice regarding discharge to receiving waters? |  | No |  | eh
Sidewalks
| Where curb and gutter streets are required, are sidewalks required to be disconnected from the stormwater system (e.g. by a green strip)? |  | Yes
| In low density neighborhoods, are sidewalks permitted on only one side of the road? |  | Yes
| Is sidewalk width standard set for LID purposes? (LID standard 4 feet or less) |  | No |  | Added
| In low density neighborhoods, can alternate pedestrian networks be substituted for sidewalks (e.g. trails through common areas) |  | Yes
Cul de Sacs
| Are dead ends discouraged by the regulations? (e.g. by encouraging or requiring connected streets or one-way loop streets)? |  | Yes
Is minimum radius for a cul de sac set for LID purposes (LID standard: 35 feet)?
| Is curbing required for cul de sacs? |  | Kind of | Curbing: Open drainage with roadside swales and no curbs preferred (not specific to cul-de-sacs but generally encourages no curbs) | ok, don't add
| Is a landscaped island permitted for cul-de-sacs? |  | Yes
| Are alternative turnarounds such as hammerhead allowed on short streets in low density residential developments? |  | Yes
Other
| Are there provisions indicating that roadways ought to be located so as to protect important natural features, avoiding low areas and steep slopes? |  | No |  | Yes included - see "Street location"
| Are developers required to rehabilitate soils that have been compacted by construction vehicles? |  | Yes
SECTION 3: Parking Requirements in Zoning Regulations
Please report the town's parking requirements on the Parking Standards Sheet
| Are parking maximums used in any instances (to prevent too much parking)? |  | Yes
| Does town require more than 3 off street parking spaces per 1,000 sq. ft. of gross floor area for office uses? |  | Kind of | Commercial parking: Conventional - Specific minimums set based on projected maximum use times adding all on-site uses together. Best - Allowed shared parking for uses with different peak demand times. Provide model agreements/deed restrictions. Reduce parking requirements near transit. Limit parking stall size (9ftx18ft max), with up to 30% smaller for compact cars | is this in the negative? Asking for what we don't want? Don't add
| Does town require more than 4.5 off street parking spaces per 1,000 sq. ft. of gross floor area for shopping centers? |  | Kind of |  | is this in the negative? Asking for what we don't want? Don't add
| Does town vary parking requirement by zone to reflect places where more trips are on foot or by transit? |  | Kind of |  | "commercial parking" includes mention of parking near transit. Don't add
| Does town have reduced off-street parking requirements for its downtown zoning district? |  | No |  | may not be applicable for all towns. Simpler in Mass Audubon
| Does the town have lower parking requirements for properties near transit stops? |  | Yes
| Does the town allow reduced parking requirements for properties within walking distance to multiple services? |  | No |  | Mass Audubon simpler…
| Does the town have lower parking requirements for properties in the more densely developed residential districts? |  | No |  | Mass Audubon simpler…
| Does town require more than 2 off-street parking spaces per residential unit? |  | Yes | Mass Audubon does not specifically address accessory dwelling units, only residential units. Parking: Establish Maximum Parking spaces allowed. Do not require more than 2/residence. Allow tenants separate, optional lease agreements for parking.
| Does town require 2 off-street parking spaces per residential unit? |  | Yes
| Does town require less than 2 off-street parking spaces per residential unit? |  | Yes
| Does town require more than 1 off-street parking space for an accessory dwelling unit? |  | No |  | Mass Audubon simpler…
| Does the town have lower parking requirements for smaller residential units? |  | No |  | Mass Audubon simpler…
| Does the town have provisions allowing for shared parking to reduce parking requirements? |  | Yes | Commercial parking: Allowed shared parking for uses with different peak demand times. Provide model agreements/deed restrictions. Reduce parking requirements near transit. Limit parking stall size (9ftx18ft max), with up to 30% smaller for compact cars
| Are the town's shared parking provisions by right? |  | Kind of |  | Mass Audubon simpler…
| Does the town provide model shared parking arrangments for private use? |  | Yes
| Does the town allow alternative measures such as custom parking demand calculations, transportation demand management or in-lieu payments to reduce required parking? |  | No |  | no
| Does the town allow for common driveways? |  | Yes | Common driveways: Allow for up to 4 residential units, preferrably constructed with permeable pavers or pavement
| If yes, are they allowed by right? |  | Kind of |  | "allowed by right" - don't need special permit review within a zone that allows it
| Is requirement for standard parking lot stall consistent with LID purposes? (LID Standard: 9 feet or less by 18 feet or less) |  | Yes
| Is requirement for residential driveway width consistent with LID purposes? (LID Standard: 9 feet wide for one lane / 18 feet wide for two lanes) |  | No |  | Added
| For larger commercial parking lots, are there provisions requiring compact car spaces? |  | Yes
| If yes, are at least 30% of parking spaces required to have smaller dimensions for compact cars? |  | Yes
| Is there a minimum perncentage of a parking lot required to be landscaped? |  | Yes
| Do commercial landscaping requirements for parking areas allow for vegetated areas with bioretention functions? |  | No |  | Added
| Do commercial landscaping requirements for parking areas encourage vegetated areas with bioretention functions? |  | No |  | with above
| Is the use of bioretenion islands and other stormwater practices within landscaped areas or setbacks allowed (versus requirement for curb and gutter)? |  | Kind of | Allow easy siting of LID features: Allowed on lots, common open space, or road ROW, easement recorded. For commercial development, allow an increase in floor area ratio or other developmental incentives for green roofs | think it's ok
| Is the use of bioretenion islands and other stormwater practices within landscaped areas or setbacks encouraged? |  | Kind of
| Can porous surfacing materials be used for parking stalls, spillover parking areas, shoulders, etc.? |  | Yes
| Is the use of porous surfacing materials for parking stalls, spillover parking areas, shoulders, etc encouraged? |  | Yes
SECTION 4: Local Regulations and Feasibility of Green Infrastructure (NPDES Draft permit 2.4.6.8)
| Are the following practices allowable when appropriate site conditions exist: |  | Kind of | Overall stormwater design: LID design standard. Allow surficial ponding of retained runoff for up to 72 hours and credit for green roofs towards stormwater requirements | Added - specific permit wording
| i. Green roofs; |  | Kind of
| ii. Infiltration practices such as rain gardens, curb extensions, planter gardens, porous and pervious pavements, and other designs to manage stormwater using landscaping and structured or augmented soils; and |  | Kind of
| iii. Water harvesting devices such as rain barrels and cisterns, and the use of stormwater for nonpotable uses. |  | Kind of
| If no, please describe impediments: __________________________________ |  | Kind of
SECTION 5: Development Policies in Subdivision Regulations |  |  |  | Is this section relevant to report?
| Are regulations that govern stormwater within the subdivision code consistent with the Stormwater Management/LID ordinance/bylaw? (see controlling standards, drainage, and other relevant sections) |  | Yes | Colorcoding all of the bylaws/regs on one sheet allows you to easily see if regs are consistent or contradictory | Added - I think they mean we should compare stormwater regs to subdivision regs and look for differences in design standards
| Do the site development standards explicitly permit LID stormwater management approaches? |  | Yes
| Do planning processes encourage an LID approach? (preliminary plans) |  | Yes
Do regulations address context sensitive development measures? (indicate all that apply)
| Reducing Cut and Fill |  | Kind of | Soils managed for revegetation: Prohibit removal of topsoil from site. Require rototilling and other prep of soils compacted during construction Limit clearing, lawn size, require retention or planting of native vegetation/naturalized areas: Require minimization of clearing/grubbing with specific standards | think it's ok
| Minimizing disturbanc to hillsides and/or ridgelines |  | Yes
| Requiring or encouraging preservation of natural vegetation or topography? |  | Yes
| Do landscaping regulations promote the planting of street trees in private and public development projects? |  | No |  | Combined with earlier new one
| Are there any regulations requiring limits to disturbance on a construction site? |  | Yes
| Are there any regulations controlling tree clearance or removal of mature trees / forest stands? |  | Yes
| Does the town have a tree protection or landscaping ordinance (If yes, please get copy) |  | No |  | How much do we need to pull in trees?
SECTION 6: Development Policies in Zoning Regulations |  |  |  | Is this section relevant to report? | yes
Please report the municipality's dimensional standards on the Dimensional Standards Worksheet
| Are regulations that govern stormwater within the zoning code consistent with the Stormwater Management/LID ordinance/bylaw? |  | Yes | Colorcoding all of the bylaws/regs on one sheet allows you to easily see if regs are consistent or contradictory | Added - I think they mean we should compare stormwater regs to zoning bylaw and look for differences in design standards
| Do planning processes encourage an LID approach? (site plan approval) |  | Yes
| Are bioretention areas, rain gardens, filter strips, swales and constructed wetlands allowed in setback areas? |  | No |  | Added to "Allow easy siting…"
| Does language on screening and buffers indicate that these areas could be used for stormwater management? |  | No |  | Added to "Allow easy siting…"
| Are there any special districts or regulations that permit cluster development? |  | Yes
| Is open space (cluster) development permitted by right? |  | Yes
| Are the submittal or reeview requirements for open space / cluster developments greater than for conventional development? |  | Yes
| Are there any flexible site design regulations that permit reductions in dimensional requirements to allow cluster development? |  | Yes
| Are there any regulations that permit reductions in dimensional requirements to increase flexibility in building placement? | Note: Reductions in frontages would allow for reduced road length/paved area, perhaps where appropriate such as in open space residential developments, at the outside sideline of curbed streets, and around cul de sacs | Yes
| What counts towards meeting open space requirements? (indicate all that apply) |  | Yes
| Stormwater management areas (e.g. bioretetention areas) |  | Yes
| Wetland aras and water bodies |  | Yes
| Green roofs |  | Yes
| Can open space requirements be reduced if improved stormwater management facilities /open spaces are provided? |  | Yes
SECTION 8: Wetlands Bylaw and Regulations
| Do regulations permit the use of low impact stormwater structures (e.g. bioretention areas) within the buffer zone of wetland resource areas? | Note: Projects under 1 acre in jurisdictional areas would be regulated here for stormwater management. | No |  | Added to "Allow easy siting…"
| Do regulations increase the required buffer above beyond the 50' required by state law (e.g. to 100 feet or more) |  | No | Is this question relevant to report? | Are we not reviewing the wetlands bylaw as part of the review? Should be.
SECTION 9: Municipal Policies and Programs |  |  |  | Is this section relevant to report? | meh
| Does the municipality have a plan for water efficiency or reuse? |  | No
| Does the town have a program to address stormwater runoff and/or LID? |  | Kind of | Overall stormwater design: LID design standard. Allow surficial ponding of retained runoff for up to 72 hours and credit for green roofs towards stormwater requirements
| Does town provide information brochures / manual for homeowners describing rainwater harvesting and stormwater management techniques? |  | No
| Does the town have any LID demonstration projects? (please list) |  | No
| Does the town have policies that promote complete streets or LID considerations within capital improvement plans or in ranking road construction projects? |  | No
| Do town policies require new street trees as part of road reconstruction projects? |  | No
| Do capital improvement plans include tree planting as part of project budgets? |  | No
| Has there been any review of emergency services policies or building and fire regulations to ensure that they allow LID techniques? |  | No
| Has there been any review of local building codes to ensure that they permit LID techniques (e.g. permeable paving) and use of harvested rainwater for interior non-potable uses? |  | No
| Who manages stormwater BMPs after construction? If the town has responsibilities, how are dollars secured for long-term maintenance? If the developer or the new property owner has the responsibilities, has the DPW established mechanisms for enforcement of maintenance agreements for stormwater facilities (e.g. fines)? |  | No

## OSRD Analysis-dont use (hidden)
MA Open Space Residential Design Best Practices Factors | Conventional | Better | Best Practice | OSRD
Permit Type | Special Permit | By Right | Mandatory
Land area to which the zoning is applicable | Only a small amount of developable land | Land of particular environmental sensitivity | All developable land zoned residential
Minimum Open Space | 50-65% | 65-75% | > 75%
Yield Calculation | Full plan with full percolation tests | Sketch plan with selected percolation test(s) | By formula
Minimum parcel size | > 10 acres | 5-10 acres | None
Review Process | No detailed analysis of site characteristics in relation to design | Cluster layout | Flexible “OSRD” 4 Step
Ownership of Open Space | Appropriate to the resources present. For example, agricultural land by the farmer, watershed land by a water dept. or district, habitat land by the conservation commission, or recreational open space by a parks and recreation commission or homeowners association.
Dimensional Standards; area, frontage, etc. | Specified, < than for standard subdivision | Formulaic reduction with specified minimums | None set or small minimums
Quality of open space conserved: Specificity of local priorities for natural, cultural, and historic resource conservation | No indication of local conservation priorities, or language that refers only to regulated resource areas. | Lack of specificity regarding local conservation priorities; no map of priority locations | Local priorities clearly and unambiguously stated and mapped for use in site design.
Contiguity of open space; relationship to previously protected open space | No contiguity requirement | Contiguity required within subdivision | Contiguity required; adjacent land considered
Quality of open space conserved: Allowed uses of open space | Allowed use of open space not addressed | Vague language regarding use of conserved open space | Clear list of allowed uses consistent with conservation and recreation goals
Quality of open space conserved: Submission requirements - GIS maps, data, etc. to inform the review process | Vague or no language regarding submission of information on site resources and no specified process for the use of the data submitted. | General non-comprehensive data and mapping requirements; vague process for the application of the data to site design and open space conservation. | Specific plans, maps, & comprehensive data regarding natural, cultural, and historic resources required and used as the basis for open space conservation.
Relationship to Plans | Relationship to plans not discussed | Optional consideration of open space goals of OSRP, master, and/or regional policy plan | Required consideration of open space goals of OSRP, master, and/or regional policy plan
Low Impact Design | Not addressed | Encouraged | Required
Density bonus for enhanced public benefit(s) | No bonus offered | Bonus by special permit | Automatic or formulaic bonus
Review Entity | ZBA, council or selectmen as special permit authority | Planning Board | Planning Board
Flexibility re: open space protection to facilitate wastewater treatment facilities | No flexibility provided | Aggregate calculations allowed by board of health | If necessary, required open space may be reduced by < 10% to accommodate; disposal area deed restricted; aggregate calculations allowed by BoH, etc.
Monitoring of open space | No specified monitoring requirements and no requirements that would assist the party responsible for monitoring | Loose provisions to facilitate, municipal monitoring, or no specificity regarding monitoring interval | Specific provisions to aid endowed monitoring by a conservation org at stated intervals

## 1 Introduction
Supporting LID in Your Community
How to Compare Local Land Use Regulations with Best Practices
Key Areas of Analysis
The following analysis framework is designed to assist communities in Massachusetts in applying cost-effective Low Impact Development (LID) techniques. Specifically, this template enables you to evaluate local land use regulations in relation to models and examples from the Commonwealth of Massachusetts’ Smart Growth/Smart Energy Toolkit and other sources in relation to the use of LID and Green Infrastructure (GI) techniques. The focus is primarily on residential development, but the concepts are also applicable to other forms of development and redevelopment.
Best practices minimize the alteration of natural green infrastructure such as forests; reduce creation of impervious surfaces; support retention of naturally vegetated buffers along wetlands and waterways; minimize grading and alterations to natural flow patterns; and support the use of LID techniques as the preferred, most easily permitted methods for managing stormwater.
Get more details on LID’s many cost-savings and other benefits at: www.massaudubon.org/LIDCost.
Local coordination across municipal boards and permits is also important for supporting LID. Application of these practices can result in significant savings in infrastructure maintenance costs, as well as improved water quality and protection of water supplies, while supporting property values and overall quality of life. Sustainable development through the application of LID in all aspects of land and water management is a multi-faceted issue that can only successfully be addressed by working together among different departments and perspectives.
Key Areas of Analysis
Overall site design: Open Space Residential Design (OSRD) vs. conventional subdivisions
Project design and layout standards in relation to LID: road layout and width, curbing, drainage, sidewalks, parking, landscaping
Maintenance and operations, mechanisms for enforcement: Who is responsible for maintaining drainage/LID (municipal or homeowner); easements, homeowner association option; municipal inspection and administration systems (this is needed regardless of who is responsible)

## 2 OSRD Overview
Open Space Residential Design (OSRD) Overview
This section reviews how local bylaws for cluster, Open Space Residential Design (OSRD), or Natural Resource Protection Zoning (NRPZ) compare to the state’s recommended best practices. Communities may currently have multiple bylaws that cover this in different residential areas, in which case they can each be compared to the model regulations. However, in most cases, we would encourage simplification and the use of a single OSRD bylaw with local priorities clearly defined.
Communities may also have no cluster, OSRD, or NRPZ bylaws on the books. In this case, the state’s best practice model (see resources below) can be used to create one. If the community closely follows the model, they’ll meet the characteristics described within the analysis. However, the analysis still provides a quick checklist.
Some of the most important aspects of OSRD in any community include: the four-step review process that carefully considers the natural landscape before drawing lot lines; the minimum amount of open space protected; the incorporation of LID practices; and allowing this type of development by right instead of special permit.

## 3 Zoning Subdiv SPR SW Overview
Zoning, Subdivision, Site Plan Review, and Stormwater Overview
This section reviews not only the individual bylaws and regulations, but also how they work together and how consistent they are. Communities often update portions of bylaws or regulations in a piecemeal way over decades, leading to inconsistencies among various provisions. This color-coded analysis provides a quick overview of not only which rules are out of date and not meeting best practices for LID and preservation of Green Infrastructure, but also how certain topics (such as siting of LID) may be inconsistent between different parts of land use rules.
Not all factors (such as road width, siting of LID, limits on clearing and grading, or allowing common drives) may be addressed in each of the sections considered (Zoning bylaws, Subdivision Rules and Regulations, Site Plan Review (SPR), and Stormwater/LID bylaw). Where that factor is not usually included within a regulation or bylaw, you’ll notice that “(Not Applicable)” will appear in that box. For example, setbacks and frontage requirements are addressed under Zoning, but often not under other bylaws or regulations. Those boxes are available for editing where desired. The sections identified for review may also need to be adjusted for your analysis, and you may need to add or remove columns to reflect the unique set of bylaws and regulations applicable in your community.
This review may also help towns identify best practices that comply with MS4 permit requirements, issued by EPA and Mass DEP, though it is not comprehensive in relation to the permit requirements and additional actions may be needed. Consultation with EPA and/or DEP is strongly recommended. Visit www.mass.gov/guides/municipal-compliance-fact-sheet-stormwater for more info.
The analysis is broken into five goals, each with factors that address the goal:
Goal 1: Protect Natural Resources and Open Space
The focus of this section is to limit clearing and grading and encourage soil management, the use of native species, and revegetation of disturbed areas. Often, communities have language such as “due regard shall be shown for natural features” without any specific limitations or guidelines that can be used by local boards to ensure developers are following the true intent of the community. The retention of natural vegetation and soils is the single most efficient means of reducing development impacts on water resources, avoiding costs associated with piping and other “grey” stormwater management features as well as the need for irrigation. There are also many other benefits – including habitat for birds and pollinators, trees for shade and clean air, and protection of natural scenery that contributes to property values and a high quality of life.
Goal 2: Promote Efficient, Compact Development Patterns and Infill
Often, making dimensional requirements such as setbacks, lot size, and frontage more flexible as well as allowing common drives will help allow the community to encourage efficient, compact designs. These help to decrease the amount of impervious surfaces and increase infiltration, while still supporting new development.
Goal 3: Smart Designs that Reduce Overall Imperviousness
This section reviews site design such as street location, road width, cul-de-sac design, curbing, roadside swales, and sidewalk design and location. There are many opportunities for communities to minimize impervious surfaces and allow for infiltration through curb cuts, swales, and cul-de-sacs with bioretention, among other things.
Goal 4: Adopt Green Infrastructure Stormwater Management Provisions
This section looks to explicitly discuss LID as a preferred method, such as requiring roof runoff to be directed into vegetated areas, and a preference for infiltration wherever soils allow or can be amended. Bylaws and/or regulations should clearly specify what LID is and which BMPs are preferred or required. Communities should also require an operations and maintenance plan to encourage effective use of LID methods. Adopting a specific LID bylaw can help clearly define and incorporate LID as a preferential stormwater management technique. Defining LID within this bylaw also decreases the need to explain LID throughout each of the Zoning bylaws, SPR, and subdivision rules and regulations and reduce the potential for any conflict between regulations and bylaws. This section also includes additional stormwater management considerations relevant to the MS4 permit.
Goal 5: Encourage Efficient Parking
Parking accounts for a large amount of impervious surface within new and redevelopment projects and offers an enormous opportunity for using LID. By reducing the amount of required parking - or even including parking maximums instead of minimums, communities can drastically reduce their impervious surfaces and runoff. Many communities already require landscaping in parking areas, which also offers an opportunity to allow curb cuts and infiltration in these areas - improving water quality and reducing the need for irrigation.

## 4 Other Considerations
Additional Notes and Recommendations
Stormwater Calculations
Ensure your regulations reference the most updated data on storm intensities.
MassDEP Stormwater rules and guidance
https://www.mass.gov/info-details/stormwater-permitting
NOAA14 Atlas https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html
Northeast Climate Center at http://www.nrcc.cornell.edu/
Landscaping and Recommended Trees
Ensure your local landscaping regulations require native, pollinator friendly species such as those here: http://www.nrcs.usda.gov/Internet/FSE_DOCUMENTS/nrcs144p2_015043.pdf
Additional Considerations
Funding and Maintenance:
  Ensure sufficient funding for DPW to perform maintenance of stormwater management facilities, whether conventional or LID.
  Consider reduced costs of paving, plowing, salt when comparing LID maintenance costs with conventional designs
  Create mechanisms for enforcement of maintenance agreements; establish regulations/fines for property owners who fail to maintain stormwater facilities.
Training, Demonstration Projects, and Public Education:
  Provide opportunities for and encourage municipal staff and committee/board members to participate in LID workshops or conferences.
  Implement LID demonstration programs at city or town hall, schools, DPW, etc.
Nonpotable Uses of Clean Stormwater:
  Local plumbing codes should allow the use of clean (e.g. rooftop) rainwater for landscape irrigation and interior non-potable uses such as toilet flushing.

## 5 OSRD Analysis
MA Open Space Residential Design Best Practices Factors | Conventional | Better | Best Practice | Section 4.6 Flexible Subdivision Regulations and Section4.7 Flexible Non-Subdivision Regulations
Permit Type | Special Permit | By Right | Mandatory | Special permit
Land area to which the zoning is applicable | Only a small amount of developable land | Land of particular environmental sensitivity | All developable land zoned residential | Allowed in all residential districts
Minimum Open Space | 50-65% | 65-75% | > 75% | 25% (Per Section Section 4.6.2 E)
Yield Calculation | Full plan with full percolation tests | Sketch plan with selected percolation test(s) | By formula | Not Addressed
Minimum parcel size | > 10 acres | 5-10 acres | None | No minimum parcel size for Section 4.6; 5-10 acres minimum for Section 4.7.2
Review Process | No detailed analysis of site characteristics in relation to design | Cluster layout | Flexible “OSRD” 4 Step | No detailed analysis of site characteristics in relation to design
Ownership of Open Space | Appropriate to the resources present. For example, agricultural land by the farmer, watershed land by a water dept. or district, habitat land by the conservation commission, or recreational open space by a parks and recreation commission or homeowners association. |  |  | Not Addressed
Dimensional Standards; area, frontage, etc. | Specified, < than for standard subdivision | Formulaic reduction with specified minimums | None set or small minimums | Any lot which does not satisfy the frontage requirements has a Minimum Usable Land Area as defined in section 1.3 and set forth in Section 4.4. If the lot is located in two residential zoning districts, the district in which the house is to be located shall determine the Minimum Usable Land Area requirement. (4.7.2.C)
Quality of open space conserved: Specificity of local priorities for natural, cultural, and historic resource conservation | No indication of local conservation priorities, or language that refers only to regulated resource areas. | Lack of specificity regarding local conservation priorities; no map of priority locations | Local priorities clearly and unambiguously stated and mapped for use in site design. | No indication of local conservation priorities, or language that refers only to regulated resource areas.
Contiguity of open space; relationship to previously protected open space | No contiguity requirement | Contiguity required within subdivision | Contiguity required; adjacent land considered | No contiguity requirement
Quality of open space conserved: Allowed uses of open space | Allowed use of open space not addressed | Vague language regarding use of conserved open space | Clear list of allowed uses consistent with conservation and recreation goals | Allowed use of open space not addressed
Quality of open space conserved: Submission requirements - GIS maps, data, etc. to inform the review process | Vague or no language regarding submission of information on site resources and no specified process for the use of the data submitted | General non-comprehensive data and mapping requirements; vague process for the application of the data to site design and open space conservation | Specific plans, maps, & comprehensive data regarding natural, cultural, and historic resources required and used as the basis for open space conservation | Not Addressed
Relationship to Plans | Relationship to plans not discussed | Optional consideration of open space goals of OSRP, master, and/or regional policy plan | Required consideration of open space goals of OSRP, master, and/or regional policy plan | Relationship to plans not discussed
Low Impact Design | Not addressed | Encouraged | Required | Not addressed
Density bonus for enhanced public benefit(s) | No bonus offered | Bonus by special permit | Automatic or formulaic bonus | No bonus offered
Review Entity | ZBA, council or selectmen as special permit authority | Planning Board | Planning Board | Planning Board
Flexibility re: open space protection to facilitate wastewater treatment facilities | No flexibility provided | Aggregate calculations allowed by board of health | If necessary, required open space may be reduced by < 10% to accommodate; disposal area deed restricted; aggregate calculations allowed by BoH, etc. | Not Addressed
Monitoring of open space | No specified monitoring requirements and no requirements that would assist the party responsible for monitoring | Loose provisions to facilitate, municipal monitoring, or no specificity regarding monitoring interval | Specific provisions to aid endowed monitoring by a conservation org at stated intervals | Not Addressed

## 6 Zoning Subdiv SPR SW Analysis
Factors | Conventional | Better | Best | Zoning | Zoning By-Law Section13: Site Plan Review | Subdivision Regulations | Stormwater By-Law and Regulations | General Bylaws (including Wetland By-laws and Regulations)
GOAL 1: PROTECT NATURAL RESOURCES AND OPEN SPACE
Soils managed for revegetation | Not addressed | Limitations on removal from site, and/or requirements for stabilization and revegetation | Prohibit removal of topsoil from site. Require prep of soils compacted during construction | Per Section 10.4 Earth Removal Regulations: The covering of excavations may be done with the top six (6) inches of soil removed therefrom, and furnishing new top soil or loam from off the premises will not be required. At the conclusion of the operation, or of any substantial portion thereof, the whole area where removal takes place shall be covered with not less than six (6) inches of top soil and seeded with a suitable cover crop. Per Section10.4.1:The Building Commissioner may issue a permit for the removal of not more than 250 cubic yards of surplus material from a single lot in any Residential Zoning District, provided such material results from the excavation of a foundation for residence, swimming pool, driveway or similar accessory residential structure for which a building permit has been issued. | Per Section 13.4.1: The landscape shall be preserved in its natural state insofar as practicable by minimizing tree, soil, and vegetation removal; minimizing the use of wetlands, steep slopes, hilltops and floodplains. Special care shall be taken to preserve unique or important natural, historic or scenic features. | Per Section 5.17: For the purpose of controlling soil erosion sediment damage and related environmental damage during subdivision construction, adequate provision shall be made for surface water retention and drainage and for the protection of soil surfaces exposed during construction. All necessary soil erosion and sedimentation control measures installed under this regulation shall be adequately maintained for one (1) year after completion of the approved subdivision, or until such measures are permanently stabilized, as determined by the Town Engineer or by the Planning Board. | Per Section 9: Location and description of and implementation schedule for temporary and permanent seeding, vegetative controls, and other stabilization measures(D.13) Institute interim and permanent stabilization measures, which shall be instituted on a disturbed area as soon as practicable but no more than 14 calendar days after construction activity has temporarily or permanently ceased on that portion of the site (E.12) | Per Section E: Erosion and sediment control provisions to minimize on-site erosion and prevent off­site sediment transport, including provisions to preserve topsoil and limit disturbance. (3.i.) Per Section F: Prevent off-site transport of sediment. (2.a.)
Limit clearing, lawn size, require retention or planting of native vegetation/naturalized areas | Not addressed or general qualitative statement not tied to other design standards | Encourage minimization of clearing/ grubbing | Require minimization of clearing/grubbing with specific standards | Per Section 10.5.2: Existing on-site vegetation shall be preserved to the maximum extent practicable. Clearing of land shall be performed in a manner, which will maximize preservation of natural beauty and conservation of natural resources. Per Section 10.7.7: Preserving natural vegetation to the maximum extent possible; Limitations as to cutting trees, removing vegetation, land clearing and prevention of soil erosion may be included as conditions in the Special Permit. | Per Section 13.4.1: The landscape shall be preserved in its natural state insofar as practicable by minimizing tree, soil, and vegetation removal; minimizing the use of wetlands, steep slopes, hilltops and floodplains. | Per Section 5.6.2: No clearing shall be started on any part of the street until the Planning Board has designated in writing, those trees which are to remain in the tree belt. If there are not enough existing trees to meet the below requirements, additional trees shall be planted at the expense of the Subdivider until these requirements are met. | Per Section 9: Minimize total area of disturbance. (E.1) Minimize soil erosion and control sedimentation during construction, prevention of erosion is preferred over sedimentation control. (E.4) | Per Section E: Clear and definite delineation of any areas of vegetation or trees. Specify vegetation that is to be removed and vegetation that is to be saved. (3.m)
Require native vegetation and trees | Invasives may inadvertently be included in planting lists | Not addressed, or mixture of required plantings of native and nonnative | Require at least 75% native plantings | Per Sections 4.8.7.2 & 8.6: Avoidance of major topographic change and destruction of significant natural site features including removal of native trees and vegetation in order to preserve and protect the environment. Per Section 4.8.10: Wherever possible, existing trees and vegetative cover shall be conserved and integrated into the landscape design. Per Section 9.3.7.2: The removal of native vegetation, especially large trees, shall be minimized. Trees may only be removed for construction of streets, driveways or structures. Landscaping and plantings shall be generally compatible with native vegetation. | Not Addressed | Per Section 5.7: The trees shall be primarily Sugar Maple interspersed with Marshall Ash and Linden, or such other species as approved by the Tree Warden. The location of overhead wires or obstructions shall be considered in determining the location and species acceptable to the Tree Warden. | Not Addressed | Not Addressed | "Conventional" description modified by Tighe & Bond
Require street trees for new streets | Not addressed | Encourages street trees | Street trees required for private and public development projects | (Not Applicable) | Not Addressed | Per Section 5.7: Trees shall be placed so that there shall not be less than one (1) tree every seventy-five (75) feet of frontage, or fraction thereof. | Not Addressed | Not Addressed | Added from Pioneer Valley Green Infrastructure Code Review Checklist
GOAL 2: PROMOTE EFFICIENT, COMPACT DEVELOPMENT PATTERNS AND INFILL
Lot size | Required minimum lot sizes | OSRD/NRPZ preferred. Special permit with incentives to utilize | Flexible with OSRD/NRPZ by right, preferred option | Minimum lot sizes required for zoning districts. See each district's dimensional regulations for more information. | (Not Applicable) | (Not Applicable) | Not Addressed | Not Addressed
Housing density | Multi-family housing not allowed, or only in/adjacent to commercial and industrial uses | Multi-family and cluster developments allowed by special permit | Multi-family housing allowed by right in most residential areas; cluster developments encouraged with density bonuses for LID features and no maximum lot coverage | Per Section 3.4.2.3 Only allowed in Residential Multiple Dwellings District by PB special permit. See Table One: Schedule for Use Regulations for more information | (Not Applicable) | (Not Applicable) | (Not Applicable) | Not Addressed | Added from the 2022 version of the Mass Audubon bylaw review checklist
Setbacks | Required minimum front, side, and rear setbacks | Minimize, allow flexibility | Clear standards that minimize and in some instances eliminate setbacks | Minimum lot setbacks required for zoning districts. See each district's dimensional regulations for more information. | (Not Applicable) | (Not Applicable) | (Not Applicable) | Not Addressed
Frontage | Required minimum frontage for each lot/unit | Minimize especially on curved streets and cul-de-sacs | No minimums in some instances, tied into other standards like OSRD design and shared driveways. | Per Section 1: The turning radius of a cul-de-sac, lot frontage may be considered as the distance between side lot lines measured at the setback line, provided that the distance measured on the street line shall be at least 75 percent of the minimum frontage required for the zone in which the lot is situated. | (Not Applicable) | (Not Applicable) | (Not Applicable) | Not Addressed
Common driveways | Often not allowed, or strict limitations | Allow for 2-3 residential units | Allow for up to 4 residential units, preferably constructed with permeable pavers or pavement | Common driveways may be allowed by special permit Per Section 4.9 : The Planning Board acting as the Special Permit Granting Authority may authorize by Special Permit access to a single lot or up to three (3) adjacent lots across the side lot line or rear lot line from a single or common driveway. | Per Section 13.4.4.6: Joint access driveways between adjoining driveways shall be encouraged subject to Planning Board approval. | (Not Applicable) | Not Addressed | Not Addressed
GOAL 3: SMART DESIGNS THAT REDUCE OVERALL IMPERVIOUSNESS
Impervious cover limits and infiltration rates | Not usually addressed in zoning and subdivision regs for rural/suburban residential | Require no net increase in site run-off from pre- to post-development | Impervious cover limits tailored to the community and district type (i.e. <10% total impervious cover in rural districts, but higher in urban and redevelopment districts); post-development infiltration should be equal to or greater than pre-development. Following best practice may also help communities comply with MS4 permit requirements | Per Section 9.3.7.5: Post development runoff shall not exceed pre-development levels. Per Section 10.7.7.H: Environmentally sensitive site design incorporating Low Impact Development (LID) techniques, as appropriate, for stormwater management may include minimizing impervious surfaces, maximizing on-site infiltration, fitting the development to the terrain, preserving and using natural drainage systems and reproducing pre-development hydrologic conditions with the understanding that the actual BMP techniques employed will depend largely on the site’s hydrological features. | (Not Applicable) | Not Addressed | (Not Applicable) | Per Section F: Loss of annual recharge to groundwater should be minimized through the use of infiltration measures to the maximum extent practicable. The annual recharge from the post development site should approximate the annual recharge rate from the pre­development or existing site conditions, based on soil types. (1.c.)
Street location | Numeric and geometric standards based primarily on vehicular travel and safety, with basic pedestrian requirements e.g. sidewalks | Flexibility in applying standards, to reduce area of impact, grading, avoid key natural features | OSRD design preferred by-right. Require locating streets to minimize grading and road length, avoid important natural features | See Site Plan Review | See 13.4.4Vehicular and Pedestrian Circulation: The location and design of parking spaces, drive aisles, loading areas and sidewalks shall be provided in a safe and convenient manner. Standards based primarily on vehicular travel and safety. See parking standards and parking and circulation requirements for each zoning district | Per Section 5.1: All streets in the subdivision shall be designed so that, in the opinion of the Planning Board, they will provide safe vehicular travel. Due consideration shall also be given by the Subdivider to the attractiveness of the street layout in order to obtain the maximum livability and amenity of the subdivision. Straight lengths of a street in a subdivision shall not be longer than one thousand (1,000) feet unless waived by the Planning Board. | (Not Applicable) | Not Addressed
Road width | Major and minor categories, 24-30’ | Wide, medium, narrow categories. 22-24’ max, plus 2’ shoulders | Wide, medium, narrow, and alley categories. 20-24’ widest for 2 travel lanes, 18-20’ low traffic residential neighborhood, plus 2’ shoulders. Allow alleys and other low traffic or secondary emergency access and all shoulders to use alternative, permeable materials. | (Not Applicable) | Not Addressed | Per Section 5.1.2: The minimum width of the street right-of-way shall be sixty (60) feet for a principal street and fifty (50) feet for a secondary street. Greater width may be required where deemed necessary by the Planning Board. | (Not Applicable) | Not Addressed
Road ROW width | 50-75’, fully cleared and graded | 40-50’, some flexibility in extent of clearing | 20-50’depending on road type | (Not Applicable) | Not Addressed | Per Appendix E; Exhibit 1 & 2:Ranges from 50-60ft. Minimum. | Not Addressed | Not Addressed
Access Options | No common drives allowed, dead end allowed with limit on length and # of units | Allow dead end with limit on length and # of units. Allow common drives up to 2-3 units | Allow one way loop streets. Allow common drives up to 4 units, and alleys and rear-loading garages where suitable. | Common driveways may be allowed by special permit Per Section 4.9 : The Planning Board acting as the Special Permit Granting Authority may authorize by Special Permit access to a single lot or up to three (3) adjacent lots across the side lot line or rear lot line from a single or common driveway. | Not Addressed | Per Section 2.1.7: being the junction with the nearest connector or through street. A continuous street or series of looping streets which has exclusive points of entry and exit within four hundred (400) feet of each other on the same street shall be functionally classified as a cul-de-sac | (Not Applicable) | Not Addressed
Dead Ends/Cul-de-sacs | 120 ft or more minimum turnaround | Minimize end radii – 35 ft | Allow hammerhead turnaround | Not Addressed | Not Addressed | Per Section 2.1.7: A continuous street or series of looping streets which has exclusive points of entry and exit within four hundred (400) feet of each other on the same street shall be functionally classified as a cul-de-sac. Per Section 5.1.4: Dead-end streets shall not be longer than seven hundred and fifty (750) feet, unless, in the opinion of the Planning Board, a greater length is necessitated by topography or other local conditions. Dead-end streets shall be provided at the closed end with a turn­around having a central island of fifty-two (52) foot diameter and having an outside roadway diameter of at least one hundred (100) feet, and a property line diameter of at least one hundred thirty (130) feet or other approved terminus, as shown in Appendix E. See Appendix E; Exhibit 5: Temporary turn around designs | (Not Applicable) | Not Addressed
Cul-de-sacs | Full pavement standard | Encourage center landscaping with bioretention | Require center landscaping with bioretention | Not Addressed | Not Addressed | Per Appendix E; Exhibit 4: Requires plantings of Yew & Junipers with wood chips for cover. - Plantings are not intended or known for bioretention | (Not Applicable) | Not Addressed
Curbing | Curbing required full length both sides of road | Allow curb breaks or curb flush with pavement to enable water to flow to vegetated LID features | Open drainage with roadside swales and no curbs preferred | Not Addressed | Not Addressed | Per Section 5.8: Bituminous concrete berms shall be installed along all street edges. Berm locations and lengths shall be shown on street plans and profiles. Bituminous concrete berms with asbestos fiber, between one and one-quarter percent and two and one-half percent (1.25% - 2.5%) by weight of mix, shall be required. Bituminous concrete berms shall be constructed with an approved berm machine. Returns shall be installed in all driveways with a three (3) foot radius. | Not Addressed | Not Addressed
Roadside Swales | Allowed as an option | Preferred over closed drainage | Preferred, with criteria for proper design. Adoption of technical specifications and design templates for green infrastructure recommended | See site Plan Requirements Per Section 13.3.5: Existing and proposed topography at two foot contour interval including the location of wetlands, streams, water bodies, drainage swales, areas subject to flooding, and unique natural land features. | Not Addressed | Per Section 5.10: Storm drainage piping, structures and facilities, capable of sustaining a fifty {50) year storm runoff, shall be installed in accordance with design standards described in "Design and Construction Standards for Storm Water Drainage for Town of Wilbraham"(see Appendix D). The Developer shall be responsible for intercepting storm and surface water runoff from the entire portion of the drainage basin that drains to or across his/her property, and shall provide connections to existing water courses or connections to existing storm drains or installation of dry wells for ground water recharge so that downstream properties will be protected from flooding and erosion due to the concentration of storm and surface water runoff. | Per Section 8: Size drainage swales to accommodate the 25 year storm event and velocities below 4 feet per second (G.12) | Per Section E: Location of existing and proposed Stormwater utilities, including dry wells, rain gardens or swales within 100’ of the property line (2.7.)
Utilities | Off sets required contributing to wide road ROWs | Not specified, flexible | Allow under road, sidewalks or immediately adjacent to roads to enable placement of roadside swales. | Per Section 8.7.A: All utilities shall be placed underground. - only relates to Section8 Adult Carte Facilities | Per Section 13.4.6.3: Electric, telephone, cable television and other such lines and equipment shall be underground where practical and environmentally feasible. | Per Section 5.6.6: All electrical and telephone distribution wires shall be installed underground, unless in the opinion of the Planning Board such installation is not in the best interests of the Town or is impractical. | (Not Applicable) | Not addressed
Driveway width | 10 to 15 feet wide with 16 to 22 foot opening at street for residential driveways and 16 to 22 feet wide with 22 to 26 foot opening at street for multifamily or commercial driveways |  | 9 feet wide for one lane or 18 feet wide for two lanes for residential driveways per LID standard | Per Section 4.9.5.B: Common driveways shall be constructed to meet the following minimum standards; Minimum width of fourteen (14) feet. | Not Addressed | Not Addressed | Not Addressed | Not addressed | Added from Pioneer Valley Green Infrastructure Code Review Checklist
Sidewalks | Concrete or bituminous | Some flexibility in material and design | Prefer permeable pavement or permeable pavers | Not Addressed | Not Addressed | Per Section 5.11.3: Sidewalks shall be poured Portland cement concrete | Not Addressed | Not addressed
Sidewalk location | Required both sides of road | Allow on only 1 side of road especially in low density neighborhoods | Prefer siting with land contours and for best pedestrian utility (e.g. connect with common areas and shared open spaces) – not necessarily immediately parallel to road. | Not Addressed | Not Addressed | Per Section 5.11.2: Sidewalks shall be four and one-half (4.5) feet in width, and shall be located between the roadway and the right-of-way line, as close to the latter as practicable, and generally parallel with the roadway. | Not Addressed | Not addressed
Sidewalk width | 5 feet minimum typically, wider for business districts |  | 4 feet or less per LID standard | Not Addressed | Not Addressed | Per Exhibits 1&2 Primary and Secondary streets have sidewalks of four and one-half (4.5) feet | Not Addressed | Not addressed | Added from Pioneer Valley Green Infrastructure Code Review Checklist
Sidewalk drainage | Drains to road closed drainage system | Not addressed | Disconnect drainage from road system – e.g. Adjacent green strips or within vegetated areas that can absorb sheet flow | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Not addressed
GOAL 4: ADOPT GREEN INFRASTRUCTURE STORMWATER MANAGEMENT PROVISIONS
The following practice is allowable when appropriate site conditions exist: Green roofs. | Not addressed | Allowed | Encouraged to the maximum extent possible | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Requirement of Small MS4 General Permit 2.3.6.c
The following practice is allowable when appropriate site conditions exist: Infiltration practices such as rain gardens, curb extensions, planter gardens, porous and pervious pavements, and other designs to manage stormwater using landscaping and structured or augmented soils. | Not addressed | Allowed | Encouraged to the maximum extent possible | Not Addressed | Not Addressed | Not Addressed | Per Section 8: LID site planning and design strategies must be utilized to the maximum extent feasible. (C.1) Projects must use LID techniques where adequate soil, groundwater and topographic conditions allow. These may include but not be limited to reduction in impervious surfaces, disconnection of impervious surfaces, bioretention (rain gardens) and infiltration systems. (G.3) | Per Section E: Location of existing and proposed Stormwater utilities, including dry wells, rain gardens or swales within 100’ of the property line (2.7.) | Requirement of Small MS4 General Permit 2.3.6.c
The following practice is allowable when appropriate site conditions exist: Water harvesting devices such as rain barrels and cisterns, and the use of stormwater for nonpotable uses. | Not addressed | Allowed | Encouraged to the maximum extent possible | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Requirement of Small MS4 General Permit 2.3.6.c
Rooftop runoff | Prohibit directing clean roof runoff into closed municipal drainage systems. | Allow clean roof runoff to be directed to landscaped or naturally vegetated areas capable of absorbing without erosion, or infiltration | Require directing clean roof runoff to landscaped or naturally vegetated areas capable of absorbing, or infiltration | Not Addressed | Not Addressed | (Not Applicable) | Not Addressed | Not Addressed
Overall stormwater design; piping and surficial retention vs. LID | Conventional stormwater system design standards | Encourage LID features and BMPs; design standards often not specified | LID design standard encouraging infiltration, allowing surficial ponding of retained runoff for up to 72 hours; systems designed for larger volume storms, accounting for future precipitation predictions; credit for green roofs towards stormwater requirements. Following best practice may also help communities comply with MS4 permit requirements | Only required for Large-Scale Ground-Mounted Solar Energy Systems Per Section 10.7.7.H: Environmentally sensitive site design incorporating Low Impact Development (LID) techniques, as appropriate, for stormwater management may include minimizing impervious surfaces, maximizing on-site infiltration, fitting the development to the terrain, preserving and using natural drainage systems and reproducing pre-development hydrologic conditions with the understanding that the actual BMP techniques employed will depend largely on the site’s hydrological features. | See Zoning | Per Section 5.10.2: All storm and surface water runoff must be conveyed either to a natural water course, an existing adequate storm drain, or approved recharge dry wells. Where necessary the Developer shall acquire and convey to the Town of Wilbraham drainage easements across adjacent land, and shall install ditches or structures, capable of sustaining a fifty (50) year storm runoff, at his/her expense, to accomplish this purpose. | Per Section 5: Use Low Impact Development (LID) techniques where adequate soil, groundwater and topographic conditions allow. These may include but not be limited to reduction in impervious surfaces, disconnection of impervious surfaces, bioretention (rain gardens), and infiltration systems. (C.4) Per Section 8: Projects must be designed to collect and dispose of stormwater runoff from the project site in accordance with Massachusetts Stormwater Management Standards, the Small MS4 General Permit, Wilbraham Department of Public Works requirements, recognized engineering methodologies and these regulations with an emphasis on including LID techniques in the design. (G.1) | Per Section F: stormwater management BMPs are sized to capture the prescribed runoff volume (1.2.) and stormwater management BMPs are maintained as designed. (1.3.)
Site Plan/Design Requirements | LID not addressed | Encourage use of LID features in site design - such as reduced imperviousness, maintaining natural hydrology, preserving open space, and rainwater reuse | Include bioretention and other vegetated LID features in site landscaping/open space requirements. Following best practice may also help communities comply with MS4 permit requirements. See 2.3.5 of the MS4 permit for more information | Only required for Large-Scale Ground-Mounted Solar Energy Systems Per Section 10.7.7.H: Environmentally sensitive site design incorporating Low Impact Development (LID) techniques, as appropriate, for stormwater management may include minimizing impervious surfaces, maximizing on-site infiltration, fitting the development to the terrain, preserving and using natural drainage systems and reproducing pre-development hydrologic conditions with the understanding that the actual BMP techniques employed will depend largely on the site’s hydrological features. | Not Addressed | Not Addressed | Per Section 8: Location, size, material, inverts data and details for all existing and proposed stormwater management system components including structures, pipes, swales, detention, retention, and infiltration systems and any other LID techniques or BMPs;. (3.c.i) | Not Addressed
Allow easy siting of LID features (bioretention, swales, etc.) | Often not addressed, may require waivers from subdivision standards | Encouraged along road ROW | Allowed on lots, common open space, or road ROW, easement recorded. Allowed in setback areas, screening, and/or buffers. For commercial development, allow an increase in floor area ratio or other developmental incentives for green roofs. Commercial landscaping requirements for parking areas. Landscaping requirements for commercial areas allow for vegetated areas with bioretention functions. | Not Addressed | Not Addressed | Not Addressed | Per Section 8: Projects must use LID techniques where adequate soil, groundwater and topographic conditions allow. These may include but not be limited to reduction in impervious surfaces, disconnection of impervious surfaces, bioretention (rain gardens) and infiltration systems. (G.3) | Not Addressed | "Best" description updated to include provisions from Pioneer Valley Green Infrastructure Code Review Checklist
Permeable paving | Often not addressed, may require waivers from subdivision standards | Allowed on private residential lots for parking, patios, etc. | Allowed for residential drives, parking stalls, spillover parking spaces, emergency access ways (with proper engineering support for emergency vehicles) Two track design allowed for driveways and secondary emergency access ways (where required) | Not Addressed | Not Addressed | Not Addressed | Not Addressed | Not Addressed
Stormwater management O&M plan | Typically only addressed if municipality has a stormwater or LID bylaw, or for areas subject to wetlands permitting | Required | Required, contents specified in alignment with current MassDEP Stormwater Handbook. Following best practice may also help communities comply with MS4 permit requirements | Only required for Large-Scale Ground-Mounted Solar Energy Systems. Per Section 10.7.5.J: Provide a plan for the operation and maintenance of the Large-Scale Ground-Mounted Solar Energy System which shall include measures for maintaining safe year-round access to the installation, proper security, vegetation and stormwater management, and general procedures for operations and maintenance of the system including battery storage if applicable. | Not Addressed | Not Addressed | Per Section 10: A stand-alone Operation and Maintenance Plan is required at the time of application for all projects that include structural and non-structural stormwater BMPs. The Operation and Maintenance Plan shall be designed to ensure compliance with the Permit and these regulations for the life of the system. The Operation and Maintenance Plan shall remain on file with the DPW and shall be an ongoing requirement. The Applicant shall provide copies of the Operation and Maintenance Plan to all persons responsible for maintenance and repairs. | Per Stormwater Regulations Section10.01: Whenever the Commission requires the construction of some sort of structure or facility (such as retention and detention basins) that may require periodic maintenance in order to assure its continued proper functioning, the Commission shall, in its orders of conditions for that project, require the applicant to submit an acceptable maintenance plan for that structure or facility. Compliance with the maintenance plan, whether undertaken by the Town or a homeowner's association, will be deemed to comply with the performance standards under the Bylaw. (c)
Construction Erosion and Sedimentation Plan, and stormwater control | Basic general requirements | Required, contents specified - the site design process should include soil erosion and sedimentation control measures | Goes beyond minimum NPDES requirements. Requires minimization of site disturbance, reduction of construction waste, control measures not removed until proof of soil stabilization or reestablishment of vegetation. Written procedures for site inspection and enforcement included. Following best practice may also help communities comply with MS4 permit requirements. See 2.3.5 of the MS4 permit for more information | Only required for Large-Scale Ground-Mounted Solar Energy Systems Per 10.7.5.F: Engineering controls at the site and on the access road to control erosion and sedimentation both during construction and after construction as a permanent measure. Such engineering controls shall conform to the applicable state and federal stormwater regulations and the Wilbraham Stormwater Management Bylaw. Per Section 10.7.7.H: Environmentally sensitive site design incorporating Low Impact Development (LID) techniques, as appropriate, for stormwater management may include minimizing impervious surfaces, maximizing on-site infiltration, fitting the development to the terrain, preserving and using natural drainage systems and reproducing pre-development hydrologic conditions with the understanding that the actual BMP techniques employed will depend largely on the site’s hydrological features...Construction phasing may be required as a means of mitigating erosion and sedimentation. | Not Addressed | Per Section 5.17: For the purpose of controlling soil erosion sediment damage and related environmental damage during subdivision construction, adequate provision shall be made for surface water retention and drainage and for the protection of soil surfaces exposed during construction. All necessary soil erosion and sedimentation control measures installed under this regulation shall be adequately maintained for one (1) year after completion of the approved subdivision, or until such measures are permanently stabilized, as determined by the Town Engineer or by the Planning Board. | Per Section 9: The Erosion and Sediment Control Plan shall be designed to ensure compliance with these regulations, the MS4, and if applicable, the NPDES General Permit for Storm Water Discharges from Construction Activities. In addition, the plan shall ensure that the Massachusetts Surface Water Quality Standards (314 CMR 4.00) are met in all seasons. | See F. 2: Erosion Control Performance Standards
Stormwater discharge detection & elimination | Not addressed | Discharges and connections noted and/or limits set on quantity and quality | Illicit discharges and connections are prohibited and enforced. Following best practice may also help communities comply with MS4 permit requirements. Find more information in 2.3.4.a of the MS4 permit | Not Addressed | Not Addressed | Not Addressed | Per Article III Section B: No person shall dump, discharge, cause or allow to be discharged any pollutant or non-stormwater discharge into the storm drain system, into a watercourse, or into waters of the United States and/or Commonwealth. (1) No person shall construct, use, allow, maintain or continue any illicit connection to the municipal storm drain system, regardless of whether the connection was permissible under applicable law, regulation or custom at the time of connection. (2) | Per Article III Section B: No person shall dump, discharge, cause or allow to be discharged any pollutant or non-stormwater discharge into the storm drain system, into a watercourse, or into waters of the United States and/or Commonwealth. (1) No person shall construct, use, allow, maintain or continue any illicit connection to the municipal storm drain system, regardless of whether the connection was permissible under applicable law, regulation or custom at the time of connection. (2) | Added from the 2022 version of the Mass Audubon bylaw review checklist
Post- construction stormwater management and drainage patterns | Not addressed | Allow LID | Resemble pre-existing conditions of volume, velocity, quality and location, as nearly as possible, requiring LID to the max extent feasible. Retain vol of runoff >1in. per sq.ft. of impervious surface and/or remove 90% TSS post-construction & 50% TP generated on the site for new development, or >0.8in. per sq.ft and/or remove 80% TSS and 50% of TP load for redevelopment. Following best practice may also help communities comply with MS4 permit requirements. | Per Section 9.3.7.5: Post development runoff shall not exceed pre-development levels. All runoff from impervious surfaces shall be retained on site, and if necessary, shall be diverted to infiltration basins covered by natural vegetation which shall be designed to handle a minimum 25 year storm. Appropriate sediment and erosion control measures shall be employed to minimize the impacts during and after construction. Only required for Large-Scale Ground-Mounted Solar Energy Systems Per Section 10.7.7.H: Environmentally sensitive site design incorporating Low Impact Development (LID) techniques, as appropriate. | Not Addressed | Not Addressed | Per Section 8: Stormwater management systems on new development shall be designed to meet an average annual pollutant removal equivalent to 90%, or the required value of pollutant removal required by current version of the DEP’s Stormwater Management Regulations, of the average annual load of Total Suspended Solids (TSS) related to the total post-construction impervious area on the site AND 60%, or the required value required by current version of the DEP’s Stormwater Management Regulations, of the average annual load of Total Phosphorus (TP) related to the total postconstruction impervious surface area on the site. | Per Section F: Loss of annual recharge to groundwater should be minimized through the use of infiltration measures to the maximum extent practicable. The annual recharge from the post-development site should approximate the annual recharge rate from the pre­development or existing site conditions, based on soil types. (1.c.) For new development, stormwater management systems must be designed to remove 80% of the average annual load (post-development conditions) of Total Suspended Solids (TSS). (1.c) | Added from the 2022 version of the Mass Audubon bylaw review checklist
As-built surveys | Not addressed | Recommended | Required, with written instructions for process; electronic submittal allowed | Not Addressed | Not Addressed | Per Section 5.19: After final approval of all street construction and before final release of the performance security, one (1) reproducible original and two (2) copies of the definitive plan revised into an accurate as-built plan and profile shall be furnished to the Board. | Per Section 13: The as-built plan shall be submitted digitally in accordance with Wilbraham Engineering Department standards. Wilbraham DPW shall issue a Certificate of Completion once all requirements have been met and approved by the DPW. | Not Addressed | Added from the 2022 version of the Mass Audubon bylaw review checklist
Intra-departmental communication and coordination | Not addressed | Informally or loosely occurring | Required for plan review and/or permit approvals | Per Section 13.5.3: The Planning Board shall transmit copies of the application and site plan to appropriate Town Boards, Committees and Departments which may include: the Town Engineer, Building Inspector, Fire Chief, Police Chief, Conservation Commission, Board of Health, Board of Water Commissioners, Sanitary Sewer Commission and others as necessary. Per Section13.6.4: Upon receipt of an application for a special permit, the Special Permit Granting Authority shall transmit copies thereof to the Building Inspector, Planning Administrator, and Planning Board, and may at its discretion, transmit copies to the Town Engineer, Fire Chief, Police Chief, Board of Health, Conservation Commission, Board of Water Commissioners, Sanitary Sewer Commission and such other boards, departments or committees as it may deem necessary and appropriate for their written reports. | Per Section 13.5.3: The Planning Board shall transmit copies of the application and site plan to appropriate Town Boards, Committees and Departments which may include: the Town Engineer, Building Inspector, Fire Chief, Police Chief, Conservation Commission, Board of Health, Board of Water Commissioners, Sanitary Sewer Commission and others as necessary. Per Section13.6.4: Upon receipt of an application for a special permit, the Special Permit Granting Authority shall transmit copies thereof to the Building Inspector, Planning Administrator, and Planning Board, and may at its discretion, transmit copies to the Town Engineer, Fire Chief, Police Chief, Board of Health, Conservation Commission, Board of Water Commissioners, Sanitary Sewer Commission and such other boards, departments or committees as it may deem necessary and appropriate for their written reports. | Per Section 5.10.1: Design of storm sewers, accompanied by supporting calculations showing the basis for the design, shall be submitted for review prior to final approval of the subdivision by the Planning Board and the Board of Health. | Not Addressed | Not Addressed | Added from the 2022 version of the Mass Audubon bylaw review checklist
Enforcement | No | Yes | Yes with fines. Same entity should oversee permit approvals and enforcement | Per Section 15.1: The Building Inspector shall have full authority to prosecute in any court of competent jurisdiction any action, suit or proceeding for the enforcement of this By-Law and the Building Inspector shall have all powers vested by M.G.L. Chapter 40A relative to the Zoning Enforcement Officer. Per Section 15.3.2: Unless otherwise provided in the By-Law, the penalty for each offense shall be one hundred (100) dollars. Each day that a violation continues shall be deemed a separate offense. Each separate violation of any of the By-Law, as listed in said notice, shall also constitute a separate offense. | See Zoning | Per Section 3.15: The enforcement of the provisions of these Rules and Regulations, or any approval or condition of approval granted by the Planning Board under the provisions of these Regulations, may be enforced by the Chairman of the Planning Board or the Planning Administrator, acting as Agent to the Planning Board, by non-criminal complaint pursuant to the provisions of Chapter 40, Section 21D of the Massachusetts General Laws, as amended. The fine for any violation disposed of through this procedure shall be one hundred dollar ($100.00) for each offense. Each day such violation continues shall be deemed a separate offense and each provision of the Rules and Regulations or subdivision approval that is violated shall constitute a separate offense. | Per Section 3: The Town of Wilbraham Department of Public Works (Wilbraham DPW) is designated as the Permitting Authority/Authorized Enforcement Agency under the Wilbraham Stormwater Management By-law. These Stormwater Regulations have been adopted by the DPW in accordance with the Wilbraham Stormwater Management By-law. The Wilbraham DPW shall administer, implement and enforce these Regulations. Any powers granted to or duties imposed upon the DPW may be delegated in writing by the DPW to its employees or agents. | Per Section 103: Any persons violating any of the provisions of Article VI, Regulation of Public Conduct, of the Town by-laws shall be punished by a fine not to exceed $20.00 for each offense, unless otherwise provided by the General Laws or by a particular by-law. | Added from the 2022 version of the Mass Audubon bylaw review checklist
GOAL 5: ENCOURAGE EFFICIENT PARKING
Parking | Specific minimums set based on projected maximum use times | Encourage minimum # needed to serve routine use (e.g. 2/residential unit with any additional/visitors parking behind in driveway or on street). | Establish Maximum Parking spaces allowed. Do not require more than 2/residence. Allow tenants separate, optional lease agreements for parking. | 11.2 Schedule of Off-Street Parking Requirements: Parking minimum given in 11-2 and 11-3 based on use. | See Zoning | (Not Applicable) | (Not Applicable) | Not Addressed
Commercial Parking | Specific minimums set based on projected maximum use times adding all on-site uses together. | Some flexibility to reduce minimums based on street or other available nearby parking or transit. | Allowed shared parking for uses with different peak demand times. Provide model agreements/deed restrictions. Reduce parking requirements near transit. Limit parking stall size (9ftx18ft max), with up to 30% smaller for compact cars | 11.2 Schedule of Off-Street Parking Requirements: Parking minimum given in 11-2 and 11-3 based on use. | See Zoning | (Not Applicable) | (Not Applicable) | Not Addressed
LID in Parking Areas | Often not addressed, may require waivers e.g. for planting islands to drain down rather than built up surrounded by curbs | Allow LID/bioretention within parking areas. | Require landscaping within parking areas, as LID/bioretention, at a minimum of 10% of the interior area landscaped and a minimum of 25 square feet for island planting areas. | Not Addressed | See Zoning | Not Addressed | Not Addressed | Not Addressed
Note:
General Bylaws category added to Mass Audubon bylaw review checklist by Tighe & Bond

## 7 Common Acronyms
Common Acronyms
BoA Board of Appeals
BoH Board of Health
BMP Best Management Practice
CC Conservation Commission
CR Conservation Restriction pursuant to MGL 184, S.31-33
DPW Department of Public Works
GI Green Infrastructure
HA Homeowner’s Association
LID Low Impact Development
MS4 Municipal Separate Storm Sewer System
NBS Nature-based Solutions
NRPD Natural Resource Protection Development
NRPZ Natural Resource Protection Zoning
OS Open Space
OSRD Open Space Residential Design
PB Planning Board
ROW Right of Way
RS Residential Single
RG Residential General
SPR Site Plan Review
SP Special Permit
SPGA Special Permit Granting Authority

## 8 Resources & Model Bylaws
Resources and Model Bylaws/Regulations
For additional information on best practices, model LID and OSRD bylaws and regulations, case studies, and other related resources see:
www.massaudubon.org/LIDCost
Five free fact sheets on Cost-Effective LID
Presentations and other resources
Additional resources
Massachusetts Smart Growth/Smart Energy Toolkit, including case studies and model bylaws: www.mass.gov/envir/smart_growth_toolkit/
Massachusetts Smart Growth Model Open Space Design/Natural Resource Protection Zoning: www.mass.gov/files/documents/2017/11/03/Open Space Design (OSD)-Natural Resource Protection Zoning (NRPZ)_0.pdf
Metropolitan Area Planning Council’s (MAPC) LID Toolkit
www.mapc.org/resource-library/low-impact-development-toolkit/
MAPC’s Climate Resilient Land Use Strategies Toolkit:
https://www.mapc.org/resource-library/climate-resilient-land-use-strategies/
MA-APA Neighborhood Road Design Guidebook
https://www.apa-ma.org/wp-content/uploads/2018/12/NRB_Guidebook_2011.pdf
EPA's Water Quality Scorecard, which was reviewed and incorporated into this analysis framework in July 2017, including using the 5 goals listed:
www.epa.gov/smartgrowth/water-quality-scorecard
- MassDEP's Stormwater Program and MS4 compliance resources:
https://www.mass.gov/info-details/stormwater-permitting

## 9 Acknowledgements
Acknowledgements and Disclaimers
The OSRD best practices chart is based on the Massachusetts Executive Office of Energy and Environmental Affairs’ Model Open Space Design/Natural Resource Protection Zoning. The zoning, subdivision, site plan, and stormwater regulatory analysis chart is based on a checklist from the MAPC LID Toolkit and other sources.
Thank you to our project partners: Blackstone River Coalition, Central Massachusetts Regional Planning Commission, and Horsley Witten Group.
Mass Audubon would also like to thank the following funders who made the creation of this document and analysis framework possible:
This project was funded in part by an agreement (CE96184201) awarded by the Environmental Protection Agency to the New England Interstate Water Pollution Control Commission on behalf of the Narragansett Bay Estuary Program. Although the information in this document has been funded wholly or in part by the United States Environmental Protection Agency under agreement CE96184201 to NEIWPCC, it has not undergone the Agency’s publications review process and therefore, may not necessarily reflect the views of the Agency and no official endorsement should be inferred. The viewpoints expressed here do not necessarily represent those of the NBEP, NEIWPCC, or U.S. EPA nor does mention of trade names, commercial products, or causes constitute endorsement or recommendation for use.
This document was funded in part through a technical assistance project, Empowering MetroWest Communities to Manage Land and Water Resources for a Sustainable Future, funded by the Foundation for MetroWest. Established in 1995, the Foundation for MetroWest is the only community foundation serving the 33 cities and towns in the region. The Foundation promotes philanthropy in the region, helps donors maximize the impact of their local giving, serve as a resource for local nonprofits and enhance the quality of life for all our residents. Since inception, the Foundation has granted $11.6 million to charitable organizations and currently stewards more than $15 million in charitable assets for current needs and future impact. To learn more, please visit www.foundationformetrowest.org or call 508-647-2260
This document was funded in part by the Massachusetts Environmental Trust. Visit your local Registry of Motor Vehicles or order a plate online at www.massrmv.com or log onto www.mass.gov/eea/met where you can learn more about the Trust, the programs it supports, and the specialty license plate offerings.
Additions were made to this tool in 2022 to incorporate enhancements from the Cape Cod Commission to assist communities in including stormwater management practices that comply with the MassDEP/US EPA MS4 Permit.
This product has been funded wholly or in part by the United States Environmental Protection Agency under Assistance Agreement SE- 00A00655-0 to the recipient. The contents of this document do not necessarily reflect the views and policies of the U.S. Environmental Protection Agency, nor does the U.S. EPA endorse trade names or recommend the use of any products, services or enterprises mentioned in this document. The SNEP Network is administered by: New England Environmental Finance Center. University of Southern Maine, UMaine System www.snepnetwork.org
.

## 10 Contact Us
Contact Us
For questions regarding this analysis or how to implement LID in your community, please feel free to contact us:
Mass Audubon
advocacy@massaudubon.org
www.massaudubon.org/advocacy